Document ID: EV-BIO-2023-011

# BIO-001 Monthly Biogas Meter Log - November

SCADA meter printout for onsite wastewater biogas combustor.

| Facility Name | Anheuser-Busch Baldwinsville Brewery | Unit ID | BIO-001 |
| --- | --- | --- | --- |
| System | Onsite Wastewater Biogas Combustor | Reporting Month | November |
| Meter Tag | BIO-FM-001 | Fuel Type | Biogas (non-pipeline) |

| Meter Read Start (scf) | Meter Read End (scf) | Volume Consumed (scf) | Operator Review |
| --- | --- | --- | --- |
| 1,825,000 | 1,908,000 | 83,000 | Initialed: J. Collins |

SCADA note: Monthly total pulled from flow integrator at 23:59 local time on the last day of the reporting month. Meter status normal.