Document ID: EV-INV-2023-001

# Combustion Equipment Inventory

Annual equipment list for facility stationary combustion sources.

| Facility Name | Anheuser-Busch Baldwinsville Brewery | Service Address | 4797 River Road, Baldwinsville, NY 13027 |
| --- | --- | --- | --- |
| Operator | Anheuser-Busch LLC | Reporting Year | January 1, 2023 through December 31, 2023 |
| Prepared By | Plant Utilities Department | Inventory Date | December 31, 2023 |

| Unit ID | Description | Fuel Type | Max Rated Capacity (MMBtu/hr) | Notes |
| --- | --- | --- | --- | --- |
| BLR-001 | Natural Gas Steam Boiler #1 | Natural Gas (pipeline) | 25 | Unit Type: Boiler. Primary production boiler. |
| BLR-002 | Natural Gas Steam Boiler #2 | Natural Gas (pipeline) | 20 | Unit Type: Boiler. Secondary production boiler. |
| BLR-003 | Steam Boiler #3 - Multi-Fuel | Natural Gas / Solid Biomass Residue | 18 | Unit Type: Boiler. Switches to solid biomass residue Aug-Sep. |
| DRY-001 | Propane Malt/Grain Dryer | Propane (LPG) | 300 | Unit Type: Process Heater. Batch kiln dryer - max rated nameplate capacity. |
| GEN-001 | Diesel Emergency Generator #1 | Diesel (No. 2 Distillate) | 2.5 | Unit Type: Reciprocating Internal Combustion Engine (RICE). Emergency use only. |
| BIO-001 | Onsite Wastewater Biogas Combustor | Biogas (non-pipeline) | 15 | Unit Type: Other. Anaerobic digestion - onsite wastewater. |
| RFO-001 | Residual Fuel Oil Boiler (Backup) | Residual Fuel Oil No. 6 | 60 | Unit Type: Boiler. Backup/seasonal use. |

Footnote: Pilot light emissions excluded per 40 CFR §98.30(d) - reporting not required for pilot lights.

Authorization

| Name / Title | Signature | Date |
| --- | --- | --- |
| Prepared by: M. Rivera, Environmental Compliance Coordinator | M. Rivera | 01/08/2024 |